SUPPLEMENTARY MATERIALS

Table of Contents

	Abdala-Mambisa Clinical Trial Research Group	2

1.	National Coordinating Center for Clinical Trials (CENCEC)	2

2.	Clinical sites	2

a.	Hermanos Ameijeiras Clinical-Surgical Hospital, La Habana (Main study execution site)	2

b.	Manuel Ascunce Domenech Provincial Clinical-Surgical Teaching Hospital, Camagüey	3

c.	Pedro Raúl Sánchez Teaching Polyclinic, Pinar del Río	4

d.	Saturnino Lora Provincial Clinical-Surgical Hospital, Santiago de Cuba	4

3.	Subjects referral and recruitment	5

	Authors name and surname, email and ORCID	6

	Nasal devices for Mambisa vaccine delivery: Specifications, use instructions and images	7

1.	Intranasal atomization device- Device AZ (CNEURO, Cuba)	7

2.	Nasal spray-Device S (GAASCH PACKAGING Ltd., UK)	8

3.	Nasal dropper-Device D (Sopac Medical, France)	9

4.	Intranasal atomization device-Device AZ (Wuxi NEST Biotechnology Co. Ltd, China)	10

	Exclusion criteria for study participation.	12

	Quantification of IgA antibodies using an in-house ELISA test (CIGB, Cuba).	13

# Abdala-Mambisa Clinical Trial Research Group

## National Coordinating Center for Clinical Trials (CENCEC)

Gladys Jiménez-Rivero. Data Management Manager

Isabel López-Zayas. Randomization Manager

Miladys Reyes-Ortiz. Randomization Manager

Dyleye Estrada-Pérez. Randomization Manager

Olga María Padrón-Labrador. Medical Supplies Manager

Dámaris Méndez-Rueda. Clinical Trial Monitoring

Yulka Prieto-Ferro. Responsible for Conducting and Monitoring the Clinical Trial in Pinar del Río Province.

Yoryana Ramírez-Sánchez. Responsible for Conducting and Monitoring the Clinical Trial in Pinar del Río Province.

Mayler Ramírez-Sosa. Responsible for Conducting and Monitoring the Clinical Trial in Camagüey Province.

Aymara Margenat-Pérez. Responsible for Conducting and Monitoring the Clinical Trial in Camagüey Province.

Sanlia Landasuri-Llago. Responsible for Conducting and Monitoring the Clinical Trial in Santiago de Cuba Province.

Dianne Yurien Griñan-Semaná. Responsible for Conducting and Monitoring the Clinical Trial in Camagüey Province.

Alicia Rodríguez-Bernabé. Responsible for Conducting and Monitoring the Clinical Trial in Las Tunas Province.

Dr. Iralys M Benítez-Guzmán. Responsible for Conducting and Monitoring the Clinical Trial in Sancti Spiritus Province.

Dr. Héctor S Ruiz-Calabuch. Responsible for Conducting and Monitoring the Clinical Trial in Sancti Spiritus Province.

## Clinical sites

### Hermanos Ameijeiras Clinical-Surgical Hospital, La Habana (Main study execution site)

Dr. Emilio Fidel Buchaca-Faxas. Investigator

Dr. Lais Rodríguez-Amador. Investigator

Dr. Juan Miguel Baiz-López. Investigator

Dr.  Eglis Ceballos-Rodríguez. Investigator

BSc. Sergio Guido Llinás-Carrillo. Clinical Trials Coordinator

BSc. Nirka López-León. Clinical Research Coordinator

BSc. Yohanka Avila-Padrón. Nursing

Dr. Marcia L. Hart-Casarez. Co-Investigator

BSc. Ada Lidia López-Suarez. Co-Investigator

BSc. Wendy Caraballo-Rodríguez. Co-Investigator

BSc. Biler Salcedo-González. Co-Investigator

Tech. Reyna Raysa-Medina. Co-Investigator

Dr. Miroslaba Dalas-Guiber. Co-Investigator

BSc. María Elena Suardiaz-Espinosa. Co-Investigator

BSc. Ana María Arias-Prieto. Co-Investigator

BSc. Regla Ramos-Duarte. Co-Investigator

Tech. Greisy Feijoo-Martín. Co-Investigator

BSc. Grisell González-Mir. Co-Investigator

BSc.  Ivelisse N. Fleites-León. Co-Investigator

Tech. Arletys Molina-González. Co-Investigator

Dr. María Amparo Navarro-Fernández. Co-Investigator

BSc. Gilda Machado-González. Co-Investigator

Dr. Alexis Morales-Villalba. Co-Investigator

Dr. Yoisis Noa-Oms. Co-Investigator

Dr. Soleil Morales-Díaz. Co-Investigator

Dr. Idalberto Vega-Bayard. Co-Investigator

Dr. Genma Salas-Cruz. Co-Investigator

Dr. Yomayra C. Ocampo-Carrión.  Co-Investigator

Dr. Sergio J. Sánchez-Hernández. Co-Investigator

Dr. Damián Torres-Santulland. Co-Investigator

BSc. Naibel García-Padrón. Co-Investigator

Dr. Osman Perdomo-Verdecia. Co-Investigator

Dr. Mayla Cordiez-Pérez. Co-Investigator

BSc. Juana L. Andux-Valdés. Co-Investigator

BSc. Greisy Feijoo-Martín. Co-Investigator

Dr. Yaimé Bencomo-Alamo. Co-Investigator

Dr. Liem Estrella Hernández-Cuesta. Co-Investigator

Dr. Yudith Peña-Garcell. Co-Investigator

Dr. Liudmila Hernández-Cardoso. Co-Investigator

BSc. Diamela Monteagudo-Mugara. Co-Investigator

### Manuel Ascunce Domenech Provincial Clinical-Surgical Teaching Hospital, Camagüey

Dr. Yanara Nélida Guerra-Peláez. Investigator

Dr. Olga Georgina Caveda-Estela. Investigator

Dr. Alina Tejeda-Fuentes. Investigator

Dr. Iliana Mesa-Pedroso. Investigator

Dr. Gloria García-González. Investigator

BSc. Idalmis Rivera-Blas. Co-Investigator

BSc. Alexis Torrens-Llanes. Co-Investigator

BSc. Yudenia Machado-Noa. Co-Investigator

BSc. Mayelin Ortega-Kirkort. Co-Investigator

BSc. Yadira Machado-Castro. Co-Investigator

BSc. Yordanis García-Godinez. Co-Investigator

BSc. Marbelis Pereira-Otero. Co-Investigator

BSc. Judith Ojeda de Pedro. Clinical Research Coordinator

BSc. Yaneydis Lores-Méndez. Clinical Research Coordinator

Dr. Belquis Hernández-García. Investigator

Dr. Yasinleidys Malo-Lantigua. Investigator

Dr. Ilina Mursuli-García. Investigator

Dr. Osmara Silvia-Cabrera Hernández. Investigator

Dr. Evelin Mariam-Roberts Dandie. Investigator

BSc. Lidia López. Investigator

Dr. Marcia Noy-León. Investigator

BSc. Ana Iris Orasma-Peña. Investigator

Dr. Kenia Montenegro-Guerra. Investigator

Dr. Nilda Alemañy-Bueno. Investigator

Dr. Mercedes Milagros Varona-Arias. Investigator

BSc. Dayetsi Parrado-Cardoso. Co-Investigator

Dr. Ivania Álvarez-Silveira. Co-Investigator

### Pedro Raúl Sánchez Teaching Polyclinic, Pinar del Río

Dr. Dagneris de la Cruz-Pérez. Investigator

Dr. Gilberto Mujica-Madera. Investigator

BSc. Dianelis Ovalle-Díaz. Investigator

BSc. Luis Carrillo-Blanco. Investigator

BSc.  Yaquelín Boligan-Carrillo. Investigator

BSc. Maida Fleita-Rodríguez. Investigator

BSc. Rosario Carrodegua-Mijares. Co-Investigator

BSc. María de las N. Pérez-Rodríguez. Co-Investigator

BSc. María L. Rodríguez-Rivera. Co-Investigator

### Saturnino Lora Provincial Clinical-Surgical Hospital, Santiago de Cuba

Dr. Eduardo Alejandro Ortiz-Artigas. Co-Investigator

Dr. Lianne Del Toro-la Hera. Co-Investigator

BSc. Yaquelin Naranjo-Vargas. Clinical Research Coordinator

BSc.  Ahimara Rosado-Rosado. Clinical Research Coordinator

Dr. Dayami Zayas-Ordoñez. Co-Investigator

Dr. Yuleidis Scamith-Bosa. Co-Investigator

Dr. Raico De La Torres-Domínguez. Co-Investigator

Dr. Sergio Del Valle-Piñera. Co-Investigator

Dr. Yanelatcy Pozo-Despaigne. Co-Investigator

Dr. Conrado Enrique Hernández-Pérez. Co-Investigator

MSc. María Del Carmen Clares-Pochet. Co-Investigator

Dr. Eddy Williams-Corona. Co-Investigator

BSc. Elizabeth Ramos-Caraballo. Co-Investigator

BSc.  Ledis Nancy Garbey-Delas. Co-Investigator

BSc. Juliet Sigüenza-Castilla. Co-Investigator

BSc. Yurina Álvarez-Calvo. Co-Investigator

BSc. Virgen Laigen Ruano-González. Co-Investigator

BSc. Odalis Pol-Fis. Co-Investigator

BSc. Luisa Amalis Recacen. Co-Investigator

BSc. Mercedes Yaima Ferrer-Bonne. Co-Investigator

Dr. Alfredo Hernández-Magdariaga. Co-Investigator

PhD. Josefa Bell-Castillo. Co-Investigator

Dr. Yanet Durive-Pérez. Co-Investigator

Dr. Yadira Díaz-Castillo. Co-Investigator

Dr. Ulda Falagán-Vázquez. Co-Investigator

## Subjects referral and recruitment

Municipal Health Directorate in Central Havana:

Dr. Alfredo Díaz-Ferrer.

Dr. Omar Benito Tamayo-Serrano.

Dr. Maricela Cangas-Crespo.

Dr. Venecia Pereira-García.

Sancti Spiritus Province (Recruitment for the Manuel Ascunce Domenech clinical site in Camagüey): 
Dr. Niuvis Fundora-Martín. Provincial Center of Hygiene and Epidemiology. 
PhD. Enrique Pérez-Cruz. Director of Sancti Spiritus CIGB.

# Authors name and surname, email and ORCID

| NAME AND SURNAME | Email | ORCID |
| --- | --- | --- |
| MSc. Gilda Lemos-Pérez | gilda.lemos@cigb.edu.cu | https://orcid.org/0000-0003-0596-6501 |
| MSc. Yinet Barrese-Pérez | yinet@cencec.sld.cu |  |
| Ing. Yahima Chacón-Quintero | yahima.chacon@cigb.edu.cu |  |
| PhD. Rolando Uranga-Piña | rolando@cencec.sld.cu |  |
| MSc. Yisel Avila-Albuerne | yisel@cencec.sld.cu |  |
| Dr. Iglermis Figueroa-García | iglermis@infomed.sld.cu |  |
| Dr. Osaida Calderín-Marín | cmosaida.cmw@infomed.sld.cu |  |
| Dr. Martha M. Gómez-Vázquez | dirpolrs@princesa.pri.sld.cu |  |
| Dr. Marjoris Piñera-Martínez | marjorisp@infomed.sld |  |
| BSc. Sheila Chávez-Valdés | sheila.chavez@cigb.edu.cu |  |
| BSc. Ricardo Martínez-Rosales | ricardo.martinez@cigb.edu.cu |  |
| BSc. Lismary Ávila-Díaz | lismary.avila@cigb.edu.cu |  |
| Tech. Amalia Vázquez-Arteaga | amalia.vazquez@cigb.edu.cu |  |
| Tech. Hany Lianet González-Formental | hany.gonzalez@cigb.edu.cu |  |
| Tech. Giselle Freyre-Corrales | giselle.freyre@cigb.edu.cu |  |
| Tech. Edelgis Coizeau-Rodríguez | edelgis.coizeau@cigb.edu.cu |  |
| PhD. Miladys Limonta-Fernández | miladys.limonta@cigb.edu.cu |  |
| PhD. Marta Ayala-Avila | marta.ayala@cigb.edu.cu |  |
| PhD. Eduardo Martínez-Díaz | eduardo@citma.gob.cu |  |
| PhD. Eulogio Pimentel-Vazquez | eulogio@oc.biocubafarma.cu |  |
| PhD. Gerardo Guillén-Nieto | gerardo.guillen@cigb.edu.cu | https://orcid.org/0000-0003-3098-0970 |

# Nasal devices for Mambisa vaccine delivery: Specifications, use instructions and images

Phase 1

## Intranasal atomization device- Device AZ (CNEURO, Cuba)

Device specifications

ATOMIZER KIT FOR DRUG ADMINISTRATION-NEURONIC AF-1.0

The Neuronic AF-1.0 Drug Delivery Atomizer Kit is intended to convert liquids into very fine atomized particles for rapid tissue absorption. Its operating principle allows the exact dose of drugs to be administered in any position. It is a non-invasive and easy-to-use route of administration.

The Neuronic AF-1.0 Drug Delivery Atomizer Kit is indicated to administer 2 doses of 0.1 mL of drug via the nose or on the surface of tissues of the human body according to medical indication, thus having a greater effect on the patient. It is designed for single use. The device components are showed in Figure S1.

Figure S1. Components of the intranasal atomization device (Device AZ). (a)	Medical grade transparent plastic material atomizer; (b) 1 mL capacity syringe, Luer-Slip connection type, made of transparent plastic material; (c) Loading needle: Hypodermic needle with safety protection. Diameter 18G (1.2 mm) and length 1½ inches (40 mm) and (d) Dose limiter: Opaque white plastic material. Its design allows it to be easily attached to the syringe. It is calibrated so that, with the syringe provided in the kit, it can administer the exact dose of drug according to the medical indication.

Procedure for using Device AZ (CNEURO, Cuba):

Step 1: Load the syringe with approximately 0.25 ml of vaccine and press the push button to 0.2 ml to remove air.

Step2: Mount the dose limiter in the push rob, remove the needle and place the atomizer.

Step 3. Gently aim the spray nozzle on one nasal cavity and quickly press the push rob until the top of dose limiter meet the bottom of the tube. The 0.1 mL dose injection was completed.

Step 4. Remove the dose limiter and gently aim the spray nozzle in another nasal cavity and quickly press the push rob until the bottom.

## Nasal spray-Device S (GAASCH PACKAGING Ltd., UK)

Device specifications

Name: SP2V NASAL SPRAY DIN 18 +. Code: 790035AB.

- It has a mechanism that prevents the flow of return air, thus ensuring that there is no contamination inside.

- The system and structure are safe; it has no risk of contamination by external microorganisms, neither at rest nor during operation.

- It contains a 0.2 µm filter membrane in the ventilation system to avoid contamination of the product through filtration of microorganisms.

- There are no anti-microbial additives within the pump components.

- The fluid path is free of metals.

- It has anti-clogging technology at the tip of the seal, preventing the crystallization of viscous and volatile formulations.

- Risk Class I Nasal Device / Sterile by Gamma Irradiation with Cobalt-60 (60Co).

- Includes security seal.

- Fits into glass bottles of 5 to 20 mL.

- Good pre-compression for reproducible atomization execution between 100 and 140 µL.

The device components are showed in Figure S2. More information available at https://catalogue.gaaschpack.eu/catalog/i/pharma/accessoires/dispensers/790035ab/sp2v-nasal-spray-din-18--

Figure S2. Components of the nasal spray device (Device S). (a) The nasal spray component; (b) the nasal spray component attached to the Mambisa vaccine.

Procedure for using Device S (see Figure S3):

Step 1. Remove the plastic seal from the bulb.

Step 2. Place the safety seal on the nasal device.

Step 3. Place the nasal device on in the mouth of the vial in a slightly inclined tilted position and press down until it is subject fixed by the clip-on closing system.

Step 4. Remove the security seal.

Step 5. Partially withdraw the protective cap and press twice, so that the medication stays in its interior (This procedure avoids dispersing the aerosol into the air and fills the internal chamber of the device).

Step 6. Set the subject with the head slightly tilted back with support throughout the procedure. Apply the product into the first nostril after exhaling, keeping maintaining the head position for one minute; repeat the same procedure is repeated in the other nostril.

Figure S3. Steps for nasal spray device (Device S) preparation and nasal application.

## Nasal dropper-Device D (Sopac Medical, France)

Device specifications

20 mm non-pigmented natural polyethylene dropper cap, 0.85 mm thick (sterilized by gamma radiation) with a protector on the tip of the dropper, with a sterilization indicator that can be found located on the primary container in contact with the product (4 droppers in 1 blister), in the multipack that contains several blister packs with dropper caps or in the corrugated cardboard box that contains several dropper caps. The sterilization date and expiration date of the droppers are found on the primary packaging.

Available for 13 mm/20 mm ISO 8368 necks. The device components are showed in Figure S4. More information available at https://www.sopac-medical.com/dropper-to-crimp-for-13-mm-and-20-mm-necks/

Figure S4. Components of the nasal dropper (Device D). (a) Dropper to crimp with the red cap; (b) (b) The dropper attached to the Mambisa vaccine.

Procedure for using Device D:

Step 1. Carefully remove the plastic seal from the bulb.

Step 2. Place the snap cap on the neck of the vaccine vial, pressing until it fits firmly.

Step 3. Position the subject with the head slightly tilted back and supported throughout the procedure.

Step 4. Remove the red cap. Invert the dropper and press the dropper cap, applying two drops to the first nostril after exhaling, maintaining the head position for one minute. Repeat the same procedure is repeated in the other nostril.

Phase 2

## Intranasal atomization device-Device AZ (Wuxi NEST Biotechnology Co. Ltd, China)

Device specifications

Disposable intranasal atomization device. Cat. No. 201002

Product presentation:

• The device provides a rapidly absorbed and painless medication delivery option for non-invasive intranasal medication delivery. It improves safety for both caregivers and patients by preventing needle-stick injuries.

• It is an atomizing drug delivery device intended to convert liquid preparations into atomized particles and spray onto the surface of tissues (or organs) of the human body for full contact to maximize the delivery effect. Meanwhile, the reasonable and effective self-destructive structure ensures that the product can only be used once to provide users with safe and hygienic products.

Characteristics:

1. Rapid absorption: Since since a specially designed nasal spray device could translate convert o transform the liquid into atomized particles, this device will promote the rapid absorption of the drug.

2. Non-invasive and painless: The umbrella-shaped spray device will not cause any damage or irritation to the human body.

3. Self-destruct device: Self-destruct device design ensures disposable use.3. Self-destruct device: Self-destruct device design ensures disposable use.

4. Special dose limiter: easy to mount and remove thanks to the special design of the dose limiter as a clamp.

5. Clear scale

6. Inoculate with precision: Using a dose limiter, it is possible to inoculate with precision.

The device components are showed in Figure S5.

Figure S5. Components of the intranasal atomization device-Device AZ (Wuxi NEST Biotechnology Co. Ltd, China).

Procedure for using Device AZ (Wuxi NEST Biotechnology Co. Ltd, China):

Step 1: Load the syringe with approximately 0.3 ml of vaccine.

Step2: Remove the needle and screw on the atomizer.

The rest of the procedure is detailed in Figure S6

More information available at https://cell-nest.ir/products/disposable-intranasal-atomization-device/disposable-intranasal-atomization-device.pdf. Also, a video is available at https://www.youtube.com/watch?v=H5tnqmnhGGA

Figure S6. Steps for intranasal atomization device AZ preparation and nasal application.

# Exclusion criteria for study participation.

Acute SARS-CoV-2 infection in the last two months, contact or suspect of COVID-19 cases, symptoms similar to COVID-19 in the previous 15 days (fever, cough or shortness of breath, loss of smell or anosmia, loss of taste or ageusia, and any acute infection 15 days prior to inclusion). Individuals with decompensated chronic diseases. Finding or medical condition in the nasal passages that makes difficult proper vaccine administration and monitoring (e.g. chronic obstructive allergic rhinitis, obstructive deviation of the nasal septum, or benign and malignant tumors of the nasal cavity such as polyposis and squamous cell carcinoma). Subjects with tattoos in both deltoid regions. Body mass index (BMI) ≤18 or ≥35 kg/m2. People who received treatment with a specific coronavirus vaccine (authorized or investigational), or any investigational product three months prior to enrollment or are scheduled for treatment during the study. Subjects with any medical condition requiring an immunomodulator (steroid or cytostatic). People who received treatment with blood or any blood product within three months prior to inclusion. Other reasons for exclusion were alcohol or drug abuse, pregnancy or desire to become pregnant, breastfeeding, and psychiatric or mental disorders.

- Quantification of IgA antibodies using an in-house ELISA test (CIGB, Cuba).

High binding 96-wells polystyrene plates (Costar, USA) were coated with monomeric RBD-His protein (Molecular Immunology Center, CIM, Cuba) at 500 ng per well in 0.1 M sodium carbonate-bicarbonate buffer pH 9.6 for 1 hour. After a wash step with 0.1% (v/v) Tween-20 in distilled water, plates were blocked with 2.5% (w/v) skimmed milk in phosphate buffered saline (PBS) and 0.05% (v/v) Tween 20 for 1 hour. After a wash step, samples, the reference material and assay controls were added at proper dilutions and incubated for 1 hour. The reference material (CoVIg-03-0222), consisting in a pool of high anti-RBD IgA titer sera, was employed for the calibration curve (dynamic range 1.4‒185 AU/mL). After four wash steps, a goat anti-human IgA-peroxidase conjugate (Sigma, USA) was added and incubated for 30 minutes. All incubations were carried out at 37 °C. After a washing step, a TMB substrate solution in citrate buffer (pH 5.0) with 0.015% hydrogen peroxide was added to the plates and incubated for 10 minutes in the dark at 22–25 °C. An automated ELISA reader (Tecnosuma, Cuba) recorded the absorbance at 450 nm. Titers were given in AU/mL with a detection limit of 0.6.