Comparative Performance Evaluation of Continuous Monitoring Blood Culture Systems Using Simulated Septic Specimen

Kwangjin Ahn1, Taesic Lee2, Sangwon Hwang3, Dong Min Seo4, Young Uh1*

1 Department of Laboratory Medicine, Yonsei University Wonju College of Medicine, Wonju-si, Republic of Korea

2 Department of Family Medicine, Yonsei University Wonju College of Medicine, Wonju, Republic of Korea

3 Department of Precision Medicine, Yonsei University Wonju College of Medicine, Wonju, Republic of Korea

4 Department of Medical Information, Yonsei University Wonju College of Medicine, Wonju, Republic of Korea

*Corresponding author

Young Uh, M.D., Ph.D.

Department of Laboratory Medicine, Wonju Severance Christian Hospital, Yonsei University Wonju College of Medicine, 20 Ilsan-ro, Wonju 26426, Korea

E-mail: u931018@yonsei.ac.kr

Supplementary Data

Tables	3

Table S1. Test schedules	3

Figures	4

Figure S1. Verification of colony-forming units of Candida albicans.	4

Figure S2. Verification of colony-forming units of Staphylococcus aureus.	5

Figure S3. Verification of the colony-forming unit of Streptococcus pneumoniae.	6

Figure S4. Verification of the colony-forming units of Escherichia coli.	7

Figure S5. Colony-forming unit verification of Pseudomonas aeruginosa.	8

Figure S6. Verification of colony-forming units of Bacteroides fragilis	9

Tables

| Table S1. Test schedules |  |  |  |
| --- | --- | --- | --- |
| Microorganism | Number of tests (date of test, year-month-day) |  |  |
|  | BacT/Alert® 3D | BACTEC™ FX | HubCentra84 |
| Candida albicans | 10 (2024-07-16) 10 (2024-08-01) 3 (2024-08-28) 3 (2024-09-23) 4 (2024-09-25) | - - 10 (2024-08-28) 10 (2024-09-23) 10 (2024-09-25) | 10 (2024-07-16) 10 (2024-08-01) 5 (2024-08-28) 3 (2024-09-23) 2 (2024-09-25) |
| Staphylococcus aureus | 10 (2024-07-25) 10 (2024-07-26) 5 (2024-09-03) 5 (2024-09-04) | - - 15 (2024-09-03) 15 (2024-09-04) | 10 (2024-07-25) 10 (2024-07-26) 5 (2024-09-03) 5 (2024-09-04) |
| Streptococcus pneumoniae | 10 (2024-07-12) 10 (2024-08-02) 5 (2024-09-12) 5 (2024-09-13) | - - 15 (2024-09-12) 15 (2024-09-13) | 10 (2024-07-12) 10 (2024-08-02) 5 (2024-09-12) 5 (2024-09-13) |
| Escherichia coli | 10 (2024-07-23) 10 (2024-07-24) 5 (2024-09-10) 5 (2024-09-11) | - - 15 (2024-09-10) 15 (2024-09-11) | 10 (2024-07-23) 10 (2024-07-24) 5 (2024-09-10) 5 (2024-09-11) |
| Pseudonomas aeruginosa | 10 (2024-07-30) 10 (2024-07-31) 4 (2024-08-14) 3 (2024-08-20) 3 (2024-08-30) | - - 10 (2024-08-14) 10 (2024-08-20) 10 (2024-08-30) | 10 (2024-07-30) 10 (2024-07-31) - - 10 (2024-08-30) |
| Bacteroides fragilis | 15 (2024-09-23) 15 (2024-09-24) | 15 (2024-09-23) 15 (2024-09-24) | 15 (2024-09-23) 15 (2024-09-24) |

Figures

Figure S1. Verification of colony-forming units of Candida albicans.

Figure S2. Verification of colony-forming units of Staphylococcus aureus.

Figure S3. Verification of the colony-forming unit of Streptococcus pneumoniae.

Figure S4. Verification of the colony-forming units of Escherichia coli.

Figure S5. Colony-forming unit verification of Pseudomonas aeruginosa.

Figure S6. Verification of colony-forming units of Bacteroides fragilis